



	
[image: image1.png]



	Medical Devices Bureau, Ministry of Health Malaysia
Level 4&5, Block E6, Parcel E, Precint 1,

Federal Government Administration Centre,

62590 Putrajaya

Tel: 03-8883 2248/2249/2264

Fax: 03-8888 6184




Medical Device ALERT : Field Safety Corrective Action
Date Issued : 20 May 2009
                          Ref:MDB/A/2009/004
	IMMEDIATE ACTION
	√

	ACTION
	√

	UPDATE
	

	INFORMATION REQUEST
	


*The dissemination of this information is based on the information submitted by Medtronic International Ltd. Malaysia Branch.
	PRODUCT
	Kappa 600/700/900 and Sigma 100/200/300 Series IPG* and 2005 Sigma. 
*IPG = implantable pulse generator

	CLASS
	 -

	USE
	Pacemakers

	SOURCE OF MEDICAL DEVICE RECALL / ALERT
	E-mail communication received from Medtronic International Ltd.-Malaysia Branch.

	ALERTING FIRM 
	Medtronic International Limited-Malaysia Branch

This document is to provide users with information pertaining to the corrective actions being carried out on this model.

	REASON FOR RECALL/ALERT
	The above mentioned models may fail due to the separation of wires that connect the electronic circuit to other pacemaker components.

*Please refer to attachment for details.

	SCENARIO IN MALAYSIA
	Currently Medtronic International Ltd.-Malaysia Branch is notifying its customers about this issue. They are in progress of updating the performance of the devices and patient management recommendations.
Respective physicians and affected healthcare institutions will receive a communication letter soon from Medtronic International Ltd-Malaysia Branch.



	ACTION 
	*Please refer to attachment for details.

	RECOMMENDATION
	Users of the abovementioned device should contact the distributors/supplier of this device (if available) and inform the Medical Device Bureau, Ministry of Health providing the following information:-


a. Name of healthcare centre/hospital/clinic


b. Contact person and contact number


c. Numbers of units available



	MANUFACTURER/DISTRIBUTOR CONTACT/ENQUIRIES
	Medtronic International Limited-Malaysia Branch

Miss Debra Anne Anthony Peter,

F-39-7 CREST,

3 Two Square,

No. 2, Jalan 19/1,

46300 Petaling Jaya

Selangor Darul Ehsan.

Tel:- 03-79534800

Fax:- 03- 79582202

	REFERENCES FOR DETAILS
	Please refer attachment


PAGE  
2

_1011766759.doc
[image: image1.png]






