



	
[image: image1.png]



	Medical Devices Control Division

Ministry of Health Malaysia
Level 5, Plot 3C4, 

No. 26, Jalan Persiaran Perdana,

Precint 3, 62675 Putrajaya
Malaysia
Tel: 603-8885 0778 / 603-8885 0773
Fax: 603-8885 0758



Medical Device / Equipment VOLUNTARY RECALL 
Date Issued : 18th MAY 2011                         Ref:MDB/R/2011/009
	IMMEDIATE ACTION
	√

	ACTION
	

	UPDATE
	

	INFORMATION REQUEST
	√


*The dissemination of this information is based on the initial information gathered via electronic mail communication with Johnson&Johnson Medical Regulatory Affairs Manager. 
	PRODUCT
	MULTIPLE LOTS OF ETHICON INC. products:
1. BLAKE Silicone Drain


	CLASS
	n/a

	USE
	Various usage

	SOURCE OF MEDICAL DEVICE RECALL / ALERT
	E-mail communication from Johnson & Johnson Sdn. Bhd. Medical Devision via their Regulatory Affairs Manager. 

	RECALLING / ALERTING FIRM 
	Johnson&Johnson Sdn. Bhd.

	REASON FOR RECALL/ALERT
	There is a potential for the sterile barrier of the product packaging to be compromised due to human error by external manufacturer. 

	SCENARIO IN MALAYSIA
	Total of 27 affected lots have been imported into Malaysia.

All customers in Malaysia will be notified to return all recalled product to the distributor.


	ACTION 
	*any healthcare facilities possessing the abovementioned device are advised to respond to this communication immediately.



	RECOMMENDATION
	Users of the abovementioned device should contact the distributors/supplier of this device/product and inform the Medical Devices Control Division, Ministry of Health Malaysia providing the following information:-


a. Name of healthcare centre/hospital/clinic


b. Contact person and contact number


c. Numbers of units available

            d. Name of the supplier(s)



	CONTACT/ENQUIRIES
	Ong Yean Ting,

Regulatory Affairs Manager
Johnson&Johnson Sdn. Bhd., 

Ground Floor, G.01,

Block B,

10, Jalan Bersatu 13/4

46200

Petaling Jaya, Selangor.
T: 603 79555108

F: 603 79553290

	REFERENCES
	-Please Refer Attachments-




PAGE  
THE INFORMATION PUBLISHED IN THIS WEBSITE IS NOT VALID FOR ANY MARKETING PURPOSE AND STRATEGY. 
Page 1

_1011766759.doc
[image: image1.png]






