	
[image: image1.png]



	Medical Devices Bureau, Ministry of Health Malaysia
Level 4&5, Block E6, Parcel E, Precinct 1,

Federal Government Administration Centre,

62590 Putrajaya

Tel: 03-8883 2248/2249/2264

Fax: 03-8888 6184




Medical Device / Equipment ALERT:URGENT DEVICE  CORRECTION
Date Issued : 11th September 2008

Ref:MDB/A/2008/014
	IMMEDIATE ACTION
	√

	ACTION
	√

	UPDATE
	

	INFORMATION REQUEST
	


	PRODUCT
	Medtronic Synchromed EL (Models 8626,8627) and SynchroMed II (Model 8637) implantable infusion pump.

	CLASS
	n/a

	USE
	Implantable Infusion Pump

	SOURCE OF MEDICAL DEVICE RECALL / ALERT
	Medical Device Correction Letter dated 25th August 2008 from Medtronic International Ltd. - Malaysia Branch. 

	ALERTING / RECALLING FIRM 
	Medtronic International Limited-Malaysia Branch



	REASON 
	The magnetic field of an MRI machine will temporarily stop the rotor of the pump motor and suspend drug infusion for the duration of MRI exposure for all SynchroMed pumps.

*Please refer to attachment for details.

	SCENARIO IN MALAYSIA
	Currently no information available

	ACTION 
	*Please refer to attachment for details.

	RECOMMENDATION
	Other users of the abovementioned device should contact the distributors/supplier of this device (if available) and inform the Medical Device Bureau, Ministry of Health providing the following information:-


a. Name of healthcare centre/hospital/clinic


b. Contact person and contact number


c. Numbers of units available

Please adhere to the manufacturer’s requirements as stated in the attachments.


	CONTACT/ENQUIRIES IN MALAYSIA
	Medtronic International Limited-Malaysia Branch

Miss Debra Anne Anthony Peter,

F-39-7 CREST,

3 Two Square,

No. 2, Jalan 19/1,

46300 Petaling Jaya

Selangor Darul Ehsan.

Tel:- 03-79534800

Fax:- 03- 79582202

	REFERENCES
	*Please refer to attachment for details.


PAGE  
2

_1011766759.doc
[image: image1.png]






