



	
[image: image1.png]



	Medical Devices Control Division

Ministry of Health Malaysia
Level 5, Plot 3C4, 

No. 26, Jalan Persiaran Perdana,

Precint 3, 62675 Putrajaya
Malaysia
Tel: 603-8885 0778 / 603-8885 0773
Fax: 603-8885 0758



Medical Device / Equipment FIELD SAFETY NOTICE:ALERT
Date Issued : 18th AUGUST 2010                         Ref:MDB/A/2010/012
	IMMEDIATE ACTION
	√

	ACTION
	

	UPDATE
	

	INFORMATION REQUEST
	


*The dissemination of this information is based on the electronic mail communication via T-Medic Sdn. Bhd. Administration Executive on 18th August 2010.
	PRODUCT
	All TomoTherapy Hi-ART Treatment Systems – operating on Version 4.0.0, 4.0.1 and 4.0.2 software

	CLASS
	n/a - software

	USE
	Software system being used for Tomography procedures.

	SOURCE OF MEDICAL DEVICE RECALL / ALERT
	E-mail communication by TomoTherapy Inc. representative, T-Medic Sdn. Bhd. 

	RECALLING / ALERTING FIRM 
	T-Medic Sdn Bhd (537463-D)
H-0-11, Jalan Sri Hartamas 1 (1/70A),
60, Plaza Damas Sri Hartamas,
Taman Sri Hartamas,
50480 Kuala Lumpur, Malaysia.
Tel          : (603) 6201 9060
Fax          : (603) 6201 9062 


	REASON FOR RECALL/ALERT
	Anomaly which may affect the performance of the Hi-Art system.

- Refer attachment for details-

	SCENARIO IN MALAYSIA
	It is also mentioned that the issue will be remedied by Hi-Art software version 4.0.3, scheduled for release in late 2010.

	ACTION 
	*any healthcare facilities possessing the abovementioned device are advised to respond to this communication immediately.

	RECOMMENDATION
	Users of the abovementioned device should contact the distributors/supplier of this device/product and inform the Medical Devices Control Division, Ministry of Health providing the following information:-


a. Name of healthcare centre/hospital/clinic


b. Contact person and contact number


c. Numbers of units available
            d. Name of the supplier(s)



	CONTACT/ENQUIRIES
	T-Medic Sdn Bhd (537463-D)
H-0-11, Jalan Sri Hartamas 1 (1/70A),
60, Plaza Damas Sri Hartamas,
Taman Sri Hartamas,
50480 Kuala Lumpur, Malaysia.
Contact Person: Ms Jane Lee

Tel          : (603) 6201 9060
Fax          : (603) 6201 9062 


	REFERENCES FOR DETAILS
	Refer Attachments


PAGE  
THE INFORMATION PUBLISHED IN THIS WEBSITE IS NOT VALID FOR ANY MARKETING PURPOSE AND STRATEGY 
Page 1

_1011766759.doc
[image: image1.png]






