



	
[image: image1.png]



	Medical Devices Control Division

Ministry of Health Malaysia
Level 5, Plot 3C4, 

No. 26, Jalan Persiaran Perdana,

Precint 3, 62675 Putrajaya
Malaysia
Tel: 603-8885 0778 / 603-8885 0773
Fax: 603-8885 0758



Medical Device / Equipment ALERT NOTICE 

PLANNED RECALL IN US MARKET
Date Issued : 11th JUNE 2010                         Ref:MDB/A/2010/008
	IMMEDIATE ACTION
	√

	ACTION
	

	UPDATE
	

	INFORMATION REQUEST
	


*The dissemination of this information is based on the communication letter by the Baxter Healthcare (M) Sdn. Bhd. to Medical Device Bureau, Ministry Of Health Malaysia.
	PRODUCT
	COLLEAGUE INFUSION PUMPS various models:
 (i) Colleague Volumetric Infusion Pump
(Models: 2M8151, 2M8151K, or their equivalent),

(ii) Colleague 3 Volumetric Infusion Pump
(Models: 2M8153, 2M8153K, or their equivalent),

(iii) Colleague CX Pump with Colleague Guardian Feature
(Models: 2M8161, 2M8163 or their equivalent), and

(iv) Colleague CXE Volumetric Infusion Pump
(Models: 2M9161, 2M9163, or their equivalent)


	CLASS
	N/A

	USE
	Volumetric Infusion Pumps

	SOURCE OF MEDICAL DEVICE RECALL / ALERT
	Electronic communication from Health Sciences Authority Singapore (HSA) and announcement letter from Baxter Healthcare (M) Sdn. Bhd. 
See attachment for details


	RECALLING / ALERTING FIRM 
	Baxter Healthcare (M) Sdn. Bhd.

Suite 12.01, Level 12

The Gardens, South Tower

Mid Valley City,

59200 Kuala Lumpur

Malaysia


	REASON FOR RECALL/ALERT
	- Refer to the attachment -

	SCENARIO IN MALAYSIA
	- Refer to the attachment -

	ACTION 
	*any healthcare facilities possessing the abovementioned device are advised to respond to this communication immediately.


	RECOMMENDATION
	Users of the abovementioned device should contact the distributors/supplier of this device/product and inform the Medical Devices Control Division, Ministry of Health providing the following information:-


a. Name of healthcare centre/hospital/clinic


b. Contact person and contact number


c. Numbers of units available
            d. Name of the supplier(s)



	CONTACT/ENQUIRIES
	Ng Juwin

(QA/PV Specialist)

Baxter Healthcare (M) Sdn. Bhd.

Suite 12.01, Level 12

The Gardens, South Tower

Mid Valley City,

59200 Kuala Lumpur

Malaysia

Tel:- +603-22676015

Fax:- +603-22831784

	REFERENCES FOR DETAILS
	Please contact your local representative for details.

Please read the latest communication letter (See Attachment) from Baxter carefully.
For details and enquiry, users are encouraged to contact Baxter Healthcare (M) Sdn. Bhd.


PAGE  
THE INFORMATION PUBLISHED IN THIS WEBSITE IS NOT VALID FOR ANY MARKETING PURPOSE AND STRATEGY 
Page 1

_1011766759.doc
[image: image1.png]






