6.2
SUMMARY TABLE OF CHANGES 
The following provides guidelines on completing the Summary Table of Change Notification.

(a) This summary table is to be completed and submitted for all change applications.

(b) List the proposed changes, according to the “category of change”, to the registered medical device(s) in the summary table below. All applicable types of changes are to be included; any change not specified in this table will not be included for the change notification.

(c) Information to be included in the table is explained below:

i) Type of changes: Please state clearly the type of change, category of change and reference number of the endorsement letter of ancillary medical device 
· With reference to the ‘type of changes’ categories in 6.1, highlight the type of change proposed.

· Specify the reference number of the endorsement letter of ancillary medical device included in this change 
· NOTE All applicable types of changes are to be included. If the types of change proposed affects/results in another type of change, all types of changes shall be included. For example, change in material of medical device and change (update) of labelling often occur together.

ii) Present: Please state clearly the current scope and aspects of the medical device to be changed.

iii) Proposed: Please state clearly the proposed scope and aspects of change.

iv) Reason for change: Please state clearly the rationale for the proposed scope and aspects of change.

v) Status of proposed change in recognized countries: Please state the reference agency status (approved/authorized for marketing) for these proposed changes.

	(a) Type of changes
	(b) Present
	(c) Proposed
	(d) Reason for change
	(e) Status of proposed change in recognised countries

	Type of change:

e.g. Change in material: Delivery tube material changed from polyvinyl chloride(PVC) to silicone

Category of change:
	Delivery tube material: polyvinylchloride (PVC)

Endorsement Letter Reference No:

List of medical device
i)

ii)

iii)
	Delivery tube material: silicone


	Improve patient safety by changing to DEHP-free tubing material


	Australia TGA – pending

EU Notified Body –approved/authorised for marketing

Health Canada – not supplied

US FDA – not supplied

Japan MHLW – not supplied

	Type of change:

e.g. Change in manufacturing facility

Category of change:
	Name and address of current manufacturing facility A
Endorsement Letter Reference No:

List of medical device
i)

ii)

iii)
	Name and address of new manufacturing facility B


	Reason for to move manufacturing activities from facility A to facility B


	Australia TGA – pending

EU Notified Body –approved/authorised for marketing

Health Canada – not supplied

US FDA – not supplied

Japan MHLW – not supplied


42

